## Sheet1
nama_kabel | nama_kategori | kode_design
Cu/PVC (NYA) 1.5 mm2 re 450/750 V | Building Wire | 11-10011-01
| Building Wire | 11-10011-02
| Building Wire | 11-10011-03
| Building Wire | 11-10011-04
| Building Wire | 11-10011-07
| Building Wire | 11-10011-05
Cu/PVC (NYA) 1.5 mm2 rm 450/750 V | Building Wire | 11-10051-01
| Building Wire | 11-10051-02
| Building Wire | 11-10051-03
| Building Wire | 11-10051-04
| Building Wire | 11-10051-05
Cu/PVC (NYA) 10 mm2 re 450/750 V | Building Wire | 11-10021-01
| Building Wire | 11-10039-01
| Building Wire | 11-10039-12
Cu/PVC (NYA) 2.5 mm2 re 450/750 V | Building Wire | 11-10012-01
| Building Wire | 11-10012-02
| Building Wire | 11-10012-03
| Building Wire | 11-10012-04
| Building Wire | 11-10012-05
| Building Wire | 11-10012-07
Cu/PVC (NYA) 2.5 mm2 rm 450/750 V | Building Wire | 11-10052-01
| Building Wire | 11-10052-02
| Building Wire | 11-10052-03
| Building Wire | 11-10052-04
| Building Wire | 11-10052-05
Cu/PVC (NYA) 4 mm2 re 450/750 V | Building Wire | 11-10034-01
| Building Wire | 11-10034-02
| Building Wire | 11-10034-03
| Building Wire | 11-10034-04
| Building Wire | 11-10034-05
Cu/PVC (NYA) 4 mm2 re 450/750 V | Building Wire | 11-10019-01
| Building Wire | 11-10019-02
| Building Wire | 11-10019-03
| Building Wire | 11-10019-04
| Building Wire | 11-10034-05
Cu/PVC (NYA) 6 mm2 re 450/750 V | Building Wire | 11-10037-01
| Building Wire | 11-10037-03
| Building Wire | 11-10037-10
Cu/PVC/PVC (NYM) 2 x 1.5 mm2 re 300/500 V | Building Wire | 11-10010-01
Cu/PVC/PVC (NYM) 2 x 1.5 mm2 re 300/500 V | Building Wire | 11-10010-03
Cu/PVC/PVC (NYM) 2 x 2.5 mm2 re 300/500 V | Building Wire | 11-10033-01
Cu/PVC/PVC (NYM) 2 x 2.5 mm2 re 300/500 V | Building Wire | 11-10033-02
Cu/PVC/PVC (NYM) 3 x 1.5 mm2 re 300/500 V | Building Wire | 11-10024-01
Cu/PVC/PVC (NYM) 3 x 1.5 mm2 re 300/500 V | Building Wire | 11-10024-02
Cu/PVC/PVC (NYM) 3 x 2.5 mm2 re 300/500 V | Building Wire | 11-10009-02
Cu/PVC/PVC (NYM) 3 x 2.5 mm2 re 300/500 V | Building Wire | 11-10009-01
Cu/PVC/PVC (NYM) 3 x 4 mm2 re 300/500 V | Building Wire | 11-10022-01
Cu/PVC/PVC (NYM) 3 x 4 mm2 re 300/500 V | Building Wire | 11-10022-02
Cu/PVC/PVC (NYM) 3 x 6 mm2 re 300/500 V | Building Wire | 11-10038-02
Cu/PVC/PVC (NYM) 4 x 1.5 mm2 re 300/500 V | Building Wire | 11-10032-01
Cu/PVC/PVC (NYM) 4 x 1.5 mm2 re 300/500 V | Building Wire | 11-10032-02
Cu/PVC/PVC (NYM) 4 x 2.5 mm2 re 300/500 V | Building Wire | 11-10023-01
Cu/PVC/PVC (NYM) 4 x 2.5 mm2 re 300/500 V | Building Wire | 11-10023-04
Cu/PVC/PVC (NYM) 4 x 4 mm2 re 300/500 V | Building Wire | 11-10036-01
Cu/PVC/PVC (NYM) 4 x 4 mm2 re 300/500 V | Building Wire | 11-10036-02
Cu/PVC/PVC (NYM) 4 x 6 mm2 re 300/500 V | Building Wire | 11-10050-02
Cu/PVC/PVC (NYY) 12 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10147-01
Cu/PVC/PVC (NYY) 14 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10643-01
Cu/PVC/PVC (NYY) 2 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10131-01
Cu/PVC/PVC (NYY) 2 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10131-02
Cu/PVC/PVC (NYY) 2 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10123-01
Cu/PVC/PVC (NYY) 2 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10123-02
Cu/PVC/PVC (NYY) 2 x 4 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10155-01
Cu/PVC/PVC (NYY) 2 x 6 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10181-01
Cu/PVC/PVC (NYY) 3 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10126-01
Cu/PVC/PVC (NYY) 3 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10126-02
Cu/PVC/PVC (NYY) 1 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10190-01
Cu/PVC/PVC (NYY) 3 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10127-01
Cu/PVC/PVC (NYY) 2 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10140-01
Cu/PVC/PVC (NYY) 2 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10179-01
Cu/PVC/PVC (NYY) 3 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10041-01
Cu/PVC/PVC (NYY) 3 x 2.5 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10072-01
Cu/PVC/PVC (NYY) 3 x 2.5 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10072-10
Cu/PVC/PVC (NYY) 3 x 4 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10051-01
Cu/PVC/PVC (NYY) 3 x 4 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10073-01
Cu/PVC/PVC (NYY) 3 x 6 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10069-01
Cu/PVC/PVC (NYY) 3 x 6 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10082-01
Cu/PVC/PVC (NYY) 4 x 10 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10045-01
Cu/PVC/PVC (NYY) 4 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10135-01
Cu/PVC/PVC (NYY) 4 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10042-01
Cu/PVC/PVC (NYY) 4 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10119-06
Cu/PVC/PVC (NYY) 4 x 4 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10043-01
Cu/PVC/PVC (NYY) 4 x 4 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10043-03
Cu/PVC/PVC (NYY) 4 x 4 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10118-01
Cu/PVC/PVC (NYY) 4 x 6 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10044-01
Cu/PVC/PVC (NYY) 4 x 6 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10044-10
Cu/PVC/PVC (NYY) 5 x 10 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10133-01
Cu/PVC/PVC (NYY) 5 x 4 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10114-01
Cu/PVC/PVC (NYY) 5 x 2.5 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10182-01
Cu/PVC/PVC (NYY) 5 x 6 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10068-01
Cu/PVC/PVC (NYY) 7 x 1.5 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10146-01
Cu/PVC/SWA/PVC (NYRGbY) 2 x 1.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10150-02
Cu/PVC/SWA/PVC (NYRGbY) 2 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10034-01
Cu/PVC/SWA/PVC (NYRGbY) 2 x 10 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10156-01
Cu/PVC/SWA/PVC (NYRGbY) 2 x 6 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10061-01
Cu/PVC/SWA/PVC (NYRGbY) 16 x 1.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10224-01
Cu/PVC/SWA/PVC (NYRGbY) 3 x 1.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10136-01
Cu/PVC/SWA/PVC (NYRGbY) 3 x 10 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10037-01
Cu/PVC/SWA/PVC (NYRGbY) 3 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10036-01
Cu/PVC/SWA/PVC (NYRGbY) 3 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10210-04
Cu/PVC/SWA/PVC (NYRGbY) 3 x 4 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10102-01
Cu/PVC/SWA/PVC (NYRGbY) 3 x 6 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10060-01
Cu/PVC/SWA/PVC (NYRGbY) 4 x 10 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10109-01
Cu/PVC/SWA/PVC (NYRGbY) 4 x 1.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10153-01
Cu/PVC/SWA/PVC (NYRGbY) 4 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10035-01
Cu/PVC/SWA/PVC (NYRGbY) 4 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10035-02
Cu/PVC/SWA/PVC (NYRGbY) 4 x 4 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10063-01
Cu/PVC/SWA/PVC (NYRGbY) 4 x 4 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10251-03
Cu/PVC/SWA/PVC (NYRGbY) 4 x 6 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10077-01
Cu/PVC/SWA/PVC (NYRGbY) 4 x 6 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10334-01
Cu/PVC/SWA/PVC (NYRGbY) 5 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10252-01
Cu/PVC/SWA/PVC (NYRGbY) 5 x 4 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10306-01
Cu/PVC/SWA/PVC (NYRGbY) 5 x 6 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10289-01
Cu/PVC/SWA/PVC (NYRGbY) 7 x 2.5 mm2 re 0.6/1 (1.2)kV | Building Wire | 21-10285-01
Cu/PVC/SFA/PVC (NYFGbY) 10 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10195-02
Cu/PVC/SFA/PVC (NYFGbY) 12 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10027-01
Cu/PVC/SFA/PVC (NYFGbY) 12 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10027-02
Cu/PVC/SFA/PVC (NYFGbY) 16 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10129-01
Cu/PVC/SFA/PVC (NYFGbY) 20 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10183-01
Cu/PVC/SFA/PVC (NYFGbY) 30 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10033-01
Cu/PVC/SFA/PVC (NYFGbY) 60 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10917-02
Cu/PVC/SFA/PVC (NYFGbY) 6 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10032-01
Cu/PVC/SFA/PVC (NYFGbY) 7 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10113-01
Cu/PVC/SFA/PVC (NYFGbY) 8 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10225-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 2.5 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10221-04
Cu/PVC/SFA/PVC (NYFGbY) 4 x 4 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10088-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 6 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10228-02
Cu/PVC/SFA/PVC (NYFGbY) 2 x 10 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10552-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 10 mm2 re 0.6/1(1.2)kV | Building Wire | 21-10058-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10090-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10090-09
Cu/PVC/SFA/PVC (NYFGbY) 4 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10058-01
Cu/PVC/SFA/PVC (NYFGbY) 5 x 10 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10653-01
Cu/PVC/SFA/PVC (NYFGbY) 6 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10431-01
Cu/PVC/SFA/PVC (NYFGbY) 6 x 4 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10434-02
Cu/PVC/SFA/PVC (NYFGbY) 7 x 2.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10167-01
Cu/PVC/SFA/PVC (NYFGbY) 8 x 1.5 mm2 rm 0.6/1(1.2)kV | Building Wire | 21-10225-01
Cu/PVC-f (NYAF) 0.75 mm2 f450/750 V | Building Wire | 11-10048-01
Cu/PVC-f (NYAF) 0.75 mm2 f450/750 V | Building Wire | 11-10048-02
Cu/PVC-f (NYAF) 0.75 mm2 f450/750 V | Building Wire | 11-10048-03
Cu/PVC-f (NYAF) 0.75 mm2 f450/750 V | Building Wire | 11-10048-04
Cu/PVC-f (NYAF) 0.75 mm2 f450/750 V | Building Wire | 11-10048-05
Cu/PVC-f (NYAF) 1.5 mm2 f450/750 V | Building Wire | 11-10043-01
Cu/PVC-f (NYAF) 1.5 mm2 f450/750 V | Building Wire | 11-10043-02
Cu/PVC-f (NYAF) 1.5 mm2 f450/750 V | Building Wire | 11-10043-03
Cu/PVC-f (NYAF) 1.5 mm2 f450/750 V | Building Wire | 11-10043-04
Cu/PVC-f (NYAF) 1.5 mm2 f450/750 V | Building Wire | 11-10043-05
Cu/PVC-f (NYAF) 2 mm2 f450/750 V | Building Wire | 11-10274-01
Cu/PVC-f (NYAF) 2.5 mm2 f450/750 V | Building Wire | 11-10044-01
Cu/PVC-f (NYAF) 2.5 mm2 f450/750 V | Building Wire | 11-10044-02
Cu/PVC-f (NYAF) 2.5 mm2 f450/750 V | Building Wire | 11-10044-04
Cu/PVC-f (NYAF) 4 mm2 f450/750 V | Building Wire | 11-10049-01
Cu/PVC-f (NYAF) 4 mm2 f450/750 V | Building Wire | 11-10049-02
Cu/PVC-f (NYAF) 4 mm2 f450/750 V | Building Wire | 11-10049-03
Cu/PVC-f (NYAF) 6 mm2 f450/750 V | Building Wire | 11-10076-01
Cu/PVC-f (NYAF) 6 mm2 f450/750 V | Building Wire | 11-10076-02
Cu/PVC-f (NYAF) 6 mm2 f450/750 V | Building Wire | 11-10076-03
Cu/PVC-f (NYAF) 10 mm2 f450/750 V | Building Wire | 11-10063-01
Cu/PVC-f (NYAF) 10 mm2 f450/750 V | Building Wire | 11-10063-02
NYMHY 2 x 0.75 mm2 f 300/500 V | Building Wire | 11-10004-01
NYMHY 2 x 0.75 mm2 f 300/500 V | Building Wire | 11-10004-04
NYMHY 2 x 1.5 mm2 f 300/500 V | Building Wire | 11-10006-01
NYMHY 2 x 1.5 mm2 f 300/500 V | Building Wire | 11-10006-04
NYMHY 2 x 2.5 mm2 f 300/500 V | Building Wire | 11-10007-01
NYMHY 2 x 2.5 mm2 f 300/500 V | Building Wire | 11-10007-03
NYMHY 2 x 2.5 mm2 f 300/500 V | Building Wire | 11-10007-04
NYMHY 3 x 0.75 mm2 f 450/750 V | Building Wire | 11-10028-03
NYMHY 3 x 0.75 mm2 f 450/750 V | Building Wire | 11-10028-01
NYMHY 3 x 1.5 mm2 f 300/500 V | Building Wire | 11-10015-01
NYMHY 3 x 1.5 mm2 f 300/500 V | Building Wire | 11-10015-02
NYMHY 3 x 1.5 mm2 f 300/500 V | Building Wire | 11-10015-03
NYMHY 3 x 2.5 mm2 f 300/500 V | Building Wire | 11-10025-01
NYMHY 3 x 2.5 mm2 f 300/500 V | Building Wire | 11-10025-04
NYMHY 3 x 2.5 mm2 f 300/500 V | Building Wire | 11-10025-05
NYMHY 4 x 0.75 mm2 f 300/500 V | Building Wire | 11-10029-01
NYMHY 4 x 1.5 mm2 f 300/500 V | Building Wire | 11-10027-01
NYMHY 4 x 1.5 mm2 f 300/500 V | Building Wire | 11-10027-04
NYMHY 4 x 2.5 mm2 f 300/500 V | Building Wire | 11-10018-01
NYMHY 5 x 2.5 mm2 f 300/500 V | Building Wire | 11-10059-01
NYMHY 3 x 4 mm2 f 300/500 V | Building Wire | 11-10116-02
NYYHY 16 x 1.5 mm2 f 450/750 V | Building Wire | 11-10067-03
NYYHY 2 x 0.75 mm2 f 450/750 V | Building Wire | 11-10040-01
NYYHY 2 x 0.75 mm2 f 450/750 V | Building Wire | 11-10040-02
NYYHY 2 x 1.5 mm2 f 450/750 V | Building Wire | 11-10017-01
NYYHY 2 x 1.5 mm2 f 450/750 V | Building Wire | 11-10017-02
NYYHY 3 x 1.5 mm2 f 450/750 V | Building Wire | 11-10013-04
NYYHY 3 x 1.5 mm2 f 450/750 V | Building Wire | 11-10013-03
NYYHY 3 x 1.5 mm2 f 450/750 V | Building Wire | 11-10013-01
NYYHY 2 x 2.5 mm2 f 450/750 V | Building Wire | 11-10042-01
NYYHY 2 x 2.5 mm2 f 450/750 V | Building Wire | 11-10042-02
NYYHY 2 x 4 mm2 f 450/750 V | Building Wire | 11-10053-01
NYYHY 2 x 6 mm2 f 450/750 V | Building Wire | 11-10085-01
NYYHY 2 x 10 mm2 f 450/750 V | Building Wire | 11-10180-01
NYYHY 3 x 0.75 mm2 f 450/750 V | Building Wire | 11-10041-01
NYYHY 3 x 0.75 mm2 f 450/750 V | Building Wire | 11-10041-03
NYYHY 3 x 2.5 mm2 f 450/750 V | Building Wire | 11-10030-01
NYYHY 3 x 2.5 mm2 f 450/750 V | Building Wire | 11-10030-02
NYYHY 3 x 4 mm2 f 450/750 V | Building Wire | 11-10031-01
NYYHY 3 x 6 mm2 f 450/750 V | Building Wire | 11-10087-01
NYYHY 3 x 10 mm2 f 450/750 V | Building Wire | 11-10101-01
NYYHY 4 x 0.75 mm2 f 450/750 V | Building Wire | 11-10080-01
NYYHY 4 x 0.75 mm2 f 450/750 V | Building Wire | 11-10080-02
NYYHY 4 x 0.75 mm2 f 450/750 V | Building Wire | 11-10080-03
NYYHY 4 x 1.5 mm2 f 450/750 V | Building Wire | 11-10035-01
NYYHY 4 x 1.5 mm2 f 450/750 V | Building Wire | 11-10035-02
NYYHY 4 x 2.5 mm2 f 0.6/1 (1.2) kV | Building Wire | 11-10263-01
NYYHY 4 x 2.5 mm2 f 450/750 V | Building Wire | 11-10016-01
NYYHY 4 x 2.5 mm2 f 450/750 V | Building Wire | 11-10016-02
NYYHY 4 x 4 mm2 f 450/750 V | Building Wire | 11-10046-01
NYYHY 4 x 6 mm2 f 450/750 V | Building Wire | 11-10069-01
NYYHY 4 x 10 mm2 f 450/750 V | Building Wire | 11-10102-01
NYYHY 5 x 1.5 mm2 f 450/750 V | Building Wire | 11-10139-01
NYYHY 5 x 2.5 mm2 f 450/750 V | Building Wire | 11-10055-01
NYYHY 5 x 4 mm2 f 450/750 V | Building Wire | 11-10140-01
NYYHY 8 x 1.5 mm2 f 450/750 V | Building Wire | 11-10075-01
NYYHY 12 x 0.75 mm2 f 450/750 V | Building Wire | 11-10190-01
Cu/PVC-f (NYAF) 16 mm2 f 450/750 V | Building Wire | 21-10216-01
Cu/PVC-f (NYAF) 35 mm2 f 450/750 V | Building Wire | 21-10270-01
Cu/PVC (NYA) 16 mm2 rm 450/750 V | Low Voltage Single Core | 21-10017-01
Cu/PVC (NYA) 16 mm2 rm 450/750 V | Low Voltage Single Core | 21-10017-15
Cu/PVC (NYA) 25 mm2 rm 450/750 V | Low Voltage Single Core | 21-10018-01
Cu/PVC (NYA) 50 mm2 rm 450/750 V | Low Voltage Single Core | 21-10048-01
Cu/PVC (NYA) 120 mm2 rm 450/750 V | Low Voltage Single Core | 21-10070-01
Cu/PVC (NYA) 150 mm2 rm 450/750 V | Low Voltage Single Core | 21-10075-01
Cu/PVC (NYA) 185 mm2 rm 450/750 V | Low Voltage Single Core | 21-10076-01
Cu/PVC (NYA) 240 mm2 rm 450/750 V | Low Voltage Single Core | 21-10107-01
Cu/PVC (NYA) 300 mm2 rm 450/750 V | Low Voltage Single Core | 21-10108-01
Cu/PVC (NYA) 35 mm2 rm 450/750 V | Low Voltage Single Core | 21-10019-01
Cu/PVC (NYA) 70 mm2 rm 450/750 V | Low Voltage Single Core | 21-10030-06
Cu/PVC (NYA) 70 mm2 rm 450/750 V | Low Voltage Single Core | 21-10030-01
Cu/PVC (NYA) 95 mm2 rm 450/750 V | Low Voltage Single Core | 21-10059-01
Cu/PVC-f (NYAF) 16 mm2 f 450/750 V | Low Voltage Single Core | 21-10216-03
Cu/PVC-f (NYAF) 16 mm2 f 450/750 V | Low Voltage Single Core | 21-10216-02
Cu/PVC-f (NYAF) 25 mm2 f 450/750 V | Low Voltage Single Core | 21-10253-01
Cu/PVC-f (NYAF) 25 mm2 f 450/750 V | Low Voltage Single Core | 21-10253-02
Cu/PVC-f (NYAF) 25 mm2 f 450/750 V | Low Voltage Single Core | 21-10253-03
Cu/PVC-f (NYAF) 35 mm2 f 450/750 V | Low Voltage Single Core | 21-10270-01
Cu/PVC-f (NYAF) 35 mm2 f 450/750 V | Low Voltage Single Core | 21-10270-02
Cu/PVC-f (NYAF) 35 mm2 f 450/750 V | Low Voltage Single Core | 21-10270-03
Cu/PVC-f (NYAF) 150 mm2 f 450/750 V | Low Voltage Single Core | 21-10185-02
Cu/PVC-f (NYAF) 185 mm2 f 450/750 V | Low Voltage Single Core | 21-10254-02
Cu/PVC-f (NYAF) 240 mm2 f 450/750 V | Low Voltage Single Core | 21-10893-02
Cu/PVC-f (NYAF) 240 mm2 f 0.6/1 (1.2) kV | Low Voltage Single Core | 21-10112-02
Cu/PVC/PVC (NYY) 1 x 16 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10106-01
Cu/PVC/PVC (NYY) 1 x 25 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10105-01
Cu/PVC/PVC (NYY) 1 x 35 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10020-02
Cu/PVC/PVC (NYY) 1 x 50 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10087-02
Cu/PVC/PVC (NYY) 1 x 120 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10004-03
Cu/PVC/PVC (NYY) 1 x 150 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10005-03
Cu/PVC/PVC (NYY) 1 x 185 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10006-02
Cu/PVC/PVC (NYY) 1 x 240 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10007-02
Cu/PVC/PVC (NYY) 1 x 300 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10031-02
Cu/PVC/PVC (NYY) 1 x 300 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10031-03
Cu/PVC/PVC (NYY) 1 x 400 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10008-02
Cu/PVC/PVC (NYY) 1 x 500 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10065-02
Cu/PVC/PVC (NYY) 1 x 70 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10001-03
Cu/PVC/PVC (NYY) 1 x 95 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10003-03
Cu/PVC/PVC (NYY) 1 x 630 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-10198-02
Cu/MT/XLPE/PVC (N2XY-FE) 1 x 120 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20036-01
Cu/MT/XLPE/PVC (N2XY-FE) 1 x 240 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20314-01
Cu/MT/XLPE/PVC (N2XY-FE) 1 x 300 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20038-01
Cu/MT/XLPE/PVC (N2XY-FE) 1 x 25 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20034-01
Cu/MT/XLPE/PVC (N2XY-FE) 1 x 35 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20198-01
Cu/XLPE/PVC (N2XY) 1 x 120 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21035-02
Cu/XLPE/PVC (N2XY) 1 x 150 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20178-01
Cu/XLPE/PVC (N2XY) 1 x 185 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21037-02
Cu/XLPE/PVC (N2XY) 1 x 185 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20078-01
Cu/XLPE/PVC (N2XY) 1 x 240 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21038-02
Cu/XLPE/PVC (N2XY) 1 x 25 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21030-02
Cu/XLPE/PVC (N2XY) 1 x 25 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20184-02
Cu/XLPE/PVC (N2XY) 1 x 300 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21039-01
Cu/XLPE/PVC (N2XY) 1 x 300 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21039-02
Cu/XLPE/PVC (N2XY) 1 x 35 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21031-02
Cu/XLPE/PVC (N2XY) 1 x 70 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-21033-02
Cu/XLPE/PVC (N2XY) 1 x 50 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20190-02
Cu/XLPE/PVC (N2XY) 1 x 95 mm2 cm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20177-01
AL/XLPE/PVC (NA2XY) 1 x 35 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20103-02
AL/XLPE/PVC (NA2XY) 1 x 50 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20019-02
AL/XLPE/PVC (NA2XY) 1 x 120 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20022-02
AL/XLPE/PVC (NA2XY) 1 x 150 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20120-01
AL/XLPE/PVC (NA2XY) 1 x 185 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20121-01
AL/XLPE/PVC (NA2XY) 1 x 240 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20006-02
AL/XLPE/PVC (NA2XY) 1 x 300 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20023-02
AL/XLPE/PVC (NA2XY) 1 x 400 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20007-02
AL/XLPE/PVC (NA2XY) 1 x 500 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20024-02
AL/XLPE/PVC (NA2XY) 1 x 95 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20021-02
AL/XLPE/PVC (NA2XY) 1 x 70 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 22-20020-02
CU/PVC/AWA/PVC (NYRaY) 1 X 240 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 21-10267-01
CU/PVC/AWA/PVC (NYRaY) 1 X 630 mm2 rm 0.6/1 (1.2) kV | Low Voltage Single Core | 21-10768-01
Al/PVC/PVC (NAYY) 1 x 400 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 22-10098-01
CU/LSZH 1 x 16 mm2 rm 450/750 V | Low Voltage Single Core | 21-60002-01
CU/LSZH 1 x 25 mm2 rm 450/750 V | Low Voltage Single Core | 21-60003-01
CU/XLPE/LSZH (N2XH-FE) 1 x 70 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 91-20358-01
CU/XLPE/LSZH (N2XH-FE) 1 x 95 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 91-20357-01
CU/XLPE/LSZH (N2XH) 1 x 150 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20699-01
CU/XLPE/LSZH (N2XH) 1 x 300 mm2 rm 0.6/1 (1.2)kV | Low Voltage Single Core | 21-20195-01
Cu/PVC/PVC (NYY) 3 x 120 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10172-01
Cu/PVC/PVC (NYY) 3 x 150 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10323-01
Cu/PVC/PVC (NYY) 3 x 185 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10173-01
Cu/PVC/PVC (NYY) 3 x 240 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10217-01
Cu/PVC/PVC (NYY) 3 x 300 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10246-01
Cu/PVC/PVC (NYY) 3 x 16 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10083-01
Cu/PVC/PVC (NYY) 3 x 25 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10084-01
Cu/PVC/PVC (NYY) 3 x 35 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10085-01
Cu/PVC/PVC (NYY) 3 x 50 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10145-01
Cu/PVC/PVC (NYY) 3 x 70 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10191-06
Cu/PVC/PVC (NYY) 3 x 70 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10191-02
Cu/PVC/PVC (NYY) 3 x 95 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10218-01
Cu/PVC/PVC (NYY) 4 x 16 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10009-01
Cu/PVC/PVC (NYY) 4 x 16 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10009-11
Cu/PVC/PVC (NYY) 4 x 25 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10010-01
Cu/PVC/PVC (NYY) 4 x 25 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10010-05
Cu/PVC/PVC (NYY) 4 x 120 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10071-01
Cu/PVC/PVC (NYY) 4 x 120 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10071-10
Cu/PVC/PVC (NYY) 4 x 150 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10015-01
Cu/PVC/PVC (NYY) 4 x 185 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10125-01
Cu/PVC/PVC (NYY) 4 x 240 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10066-01
Cu/PVC/PVC (NYY) 4 x 240 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10066-08
Cu/PVC/PVC (NYY) 4 x 300 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10124-01
Cu/PVC/PVC (NYY) 4 x 35 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10011-01
Cu/PVC/PVC (NYY) 4 x 35 mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10011-11
Cu/PVC/PVC (NYY) 4 x 50 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10012-01
Cu/PVC/PVC (NYY) 4 x 70 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10013-13
Cu/PVC/PVC (NYY) 4 x 70 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10013-01
Cu/PVC/PVC (NYY) 4 x 95 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10014-01
Cu/PVC/PVC (NYY) 4 x 95 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10014-12
Cu/PVC/PVC (NYY) 5 x 16 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10288-01
Cu/PVC/PVC (NYY) 5 x 25 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10498-01
Cu/PVC/PVC (NYY) 5 x 35 mm2 sm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-10115-01
NYYHY 3 x 16 mm2 f 450/750 V | Low Voltage Multi Core | 11-10136-01
NYYHY 3 x 25 mm2 f 450/750 V | Low Voltage Multi Core | 11-10137-01
NYYHY 4 x 25 mm2 f 450/750 V | Low Voltage Multi Core | 11-10138-01
NYYHY 3 x 35 mm2 f 450/750 V | Low Voltage Multi Core | 21-10419-01
NYYHY 4 x 16 mm2 f 450/750 V | Low Voltage Multi Core | 21-10230-01
NYYHY 4 x 16 mm2 f 450/750 V | Low Voltage Multi Core | 21-10121-01
NYYHY 4 x 35 mm2 f 450/750 V | Low Voltage Multi Core | 21-10122-01
NYYHY 4 x 50 mm2 f 450/750 V | Low Voltage Multi Core | 21-10716-01
Cu/PVC/SFA/PVC (NYFGbY) 2 x 16 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10202-02
Cu/PVC/SFA/PVC (NYFGbY) 3 x 50 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10081-02
Cu/PVC/SFA/PVC (NYFGbY) 3 x 70 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10378-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 120 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10097-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 120 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10097-04
Cu/PVC/SFA/PVC (NYFGbY) 4 x 150 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10098-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 150 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10098-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 150 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10098-03
Cu/PVC/SFA/PVC (NYFGbY) 4 x 150 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10098-09
Cu/PVC/SFA/PVC (NYFGbY) 3 x 16 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10188-01
Cu/PVC/SFA/PVC (NYFGbY) 3 x 25 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10189-01
Cu/PVC/SFA/PVC (NYFGbY) 3 x 35 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10294-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 16 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10021-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 16 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10021-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 16 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10021-12
Cu/PVC/SFA/PVC (NYFGbY) 4 x 25 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10064-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 185 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10026-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 240 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10028-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 240 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10028-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 240 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10028-04
Cu/PVC/SFA/PVC (NYFGbY) 4 x 300 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10029-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 35 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10022-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 35 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10022-03
Cu/PVC/SFA/PVC (NYFGbY) 4 x 50 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10023-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 50 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10023-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 70 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10024-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 70 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10024-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 95 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10025-01
Cu/PVC/SFA/PVC (NYFGbY) 4 x 95 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10025-02
Cu/PVC/SFA/PVC (NYFGbY) 4 x 95 mm2 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10025-06
Al/PVC/SFA/PVC (NAYFGbY) 4 x 10 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10054-01
Al/PVC/SFA/PVC (NAYFGbY) 4 x 16 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10049-01
Al/PVC/SFA/PVC (NAYFGbY) 4 x 25 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10050-02
Al/PVC/SFA/PVC (NAYFGbY) 4 x 35 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10061-02
Al/PVC/SFA/PVC (NAYFGbY) 4 x 50 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10112-01
Al/PVC/SFA/PVC (NAYFGbY) 4 x 70 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10014-01
Al/PVC/SFA/PVC (NAYFGbY) 4 x 95 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10015-01
Al/PVC/SFA/PVC (NAYFGbY) 4 x 70 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10013-01
Al/PVC/SFA/PVC (NAYFGbY) 4 x 120 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-10089-01
Al/XLPE/LSZH (NA2XH) 3 x 120 + 70 mm2 sm/rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-20237-01
Al/XLPE/PVC (NA2XY) 3 x 150 + 95 mm2 sm/rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-20238-01
Cu/XLPE/LSZH (N2XH) 4 x 16 mm2 rm 0.6/1(1.2)kV | Low Voltage Multi Core | 21-20100-01
Cu/XLPE/LSZH (N2XH) 4 x 35 mm2 rm 0.6/1(1.2)kV | Low Voltage Multi Core | 21-20659-01
Cu/XLPE/LSZH (N2XH) 4 x 300 mm2 rm 0.6/1(1.2)kV | Low Voltage Multi Core | 21-20965-02
Cu/MT/XLPE/LSZH (N2XH-FE) 4 x 16 mm2 rm 0.6/1(1.2)kV | Low Voltage Multi Core | 91-20234-02
Cu/MT/XLPE/LSZH (N2XH-FE) 4 x 25 mm2 rm 0.6/1(1.2)kV | Low Voltage Multi Core | 91-20233-02
Cu/XLPE/DSTA/PVC (N2XBY) 2 x 120 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-21078-01
Cu/XLPE/DSTA/PVC (N2XBY) 2 x 95 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-21230-02
Cu/XLPE/PVC (N2XY) 4 x 35 mm2 cm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-20068-11
Cu/XLPE/PVC (N2XY) 3 x 150 mm2 cm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-20470-02
Cu/XLPE/PVC (N2XY) 3 x 300 + 150 mm2 sm/rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-21483-02
Cu/XLPE/PVC (N2XY) 4 x 25 mm2 cm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-20145-13
Cu/XLPE/CTS/PVC (N2XSY) 4 X 25mm2 rm 0.6/1 (1.2)kV | Low Voltage Multi Core | 21-20277-02
Cu/XLPE/SWA/PVC (N2XRGBY) 5 X 16 mm2 rm 0.6/1 (1.2) kv | Low Voltage Multi Core | 21-20044-02
Cu/XLPE/SWA/PVC (N2XRGBY) 3 X 35 + 25 mm2 rm 0.6/1 (1.2) kv | Low Voltage Multi Core | 21-21347-03
Al/XLPE/SFA/PVC (NA2XRY) 3 x 300 + 150 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-20255-02
Al/XLPE/SWA/PVC (NA2XFGbY) 4 x 95 mm2 sm 0.6/1 (1.2) kV | Low Voltage Multi Core | 22-20014-01
Cu/XLPE/LS/SFA/PVC (N2XKFGbY) 4 x 35 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-21340-01
Cu/PVC/LS/SFA/PVC (N2XKFGbY) 4 x 35 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-10806-02
Cu/XLPE/SWA/PVC (N2XRY) 2 x 16 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-20055-01
Cu/XLPE/SWA/PVC (N2XRY) 4 x 16 mm2 rm 0.6/1 (1.2) kV | Low Voltage Multi Core | 21-20091-01
Cu/XLPE/CWS/PVC (N2XCY) 2 x 16/2.5 mm2 rm 0.6/1(1.2)kV | Low Voltage Multi Core | 21-20108-02
YSLY-JZ 4 1.5mm2 f 300/500 V | Instrument & Control Cable | 11-10247-01
Cu/PVC/CWS/PVC (NYCY) 2 x 4/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10307-01
Cu/PVC/CWS/PVC (NYCY) 2 x 4/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10307-02
Cu/PVC/CWS/PVC (NYCY) 2 x 2.5/2.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-10052-02
Cu/PVC/CWS/PVC (NYCY) 2 x 2.5/2.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-10052-03
Cu/PVC/CWS/PVC (NYCY) 3 x 1.5/1.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10537-01
Cu/PVC/CWS/PVC (NYCY) 3 x 2.5/2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10658-01
Cu/PVC/CWS/PVC (NYCY) 4 x 1.5/1.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10169-02
Cu/PVC/CWS/PVC (NYCY) 4 x 2.5/2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10170-01
Cu/PVC/CWS/PVC (NYCY) 4 x 2.5/2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10170-02
Cu/PVC/CWS/PVC (NYCY) 4 x 4/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10192-02
Cu/PVC/CWS/PVC (NYCY) 4 x 4/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10192-03
Cu/PVC/CWS/PVC (NYCY) 10 x 1.5/2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10725-02
Cu/PVC/CWS/PVC (NYCY) 4 x 4/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10192-02
Cu/PVC/CWS/PVC (NYCY) 4 x 6/6 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10053-02
Cu/PVC/CWS/PVC (NYCY) 7 x 1.5/2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10055-01
Cu/PVC/CWS/PVC (NYCY) 14 x 2.5/6 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10171-01
Cu/PVC/CWS/PVC (NYCY) 19 x 1.5/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10868-01
Cu/PVC/CWS/PVC (NYCY) 19 x 2.5/6 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10355-01
Cu/PVC/CWS/PVC (NYCY) 20 x 1.5/4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-10901-01
Cu/PVC/DSTA/PVC (NYBY) 4 x 0.75 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10293-01
Cu/PVC/DSTA/PVC (NYBY) 4 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10141-01
Cu/PVC/DSTA/PVC (NYBY) 4 x 2.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10049-02
Cu/PVC/DSTA/PVC (NYBY) 4 x 2.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10439-01
Cu/PVC/DSTA/PVC (NYBY) 12 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10864-01
NYBY 4 x 2.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10049-01
NYBY 12 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10139-01
Cu/PVC/DSTA/PVC (NYBY) 16 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10787-01
Cu/PVC/DSTA/PVC (NYBY) 16 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10787-02
Cu/PVC/DSTA/PVC (NYBY) 16 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-10865-01
N2X2YB2Y 3 x 16 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-21423-01
N2X2YB2Y 4 x 4 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20017-02
N2X2YB2Y 4 x 6 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20018-02
N2X2YB2Y 4 x 10 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-21071-01
N2X2YB2Y 4 x 16 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-21072-01
N2X2YB2Y 6 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20133-01
N2X2YB2Y 8 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20019-01
N2X2YB2Y 12 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20020-01
N2X2YB2Y 16 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20021-01
N2X2YB2Y 16 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-20021-02
N2X2YB2Y 14 x 2.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 21-21424-01
Cu/XLPE/PVC (N2XY) 2 x 2.5 + 2.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-20003-09
Cu/XLPE/PVC (N2XY) 2 x 6 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-21458-01
Cu/XLPE/PVC (N2XY) 3 x 2.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-20758-03
Cu/XLPE/PVC (N2XY) 4 x 1.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-20481-03
Cu/XLPE/PVC (N2XY) 4 x 10 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-20136-01
Cu/XLPE/PVC (N2XY) 4 x 2.5 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-20030-02
Cu/XLPE/PVC (N2XY) 4 x 6 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-21459-01
Cu/XLPE/PVC (N2XY) 5 x 10 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-20444-05
Cu/XLPE/PVC (N2XY) 5 x 10 mm2 re 0.6/1(1.2) kV | Instrument & Control Cable | 21-21735-01
Cu/XLPE/LS/SWA/PVC (N2XRGbY) 2 x 2.5 + 2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-20395-09
Cu/XLPE/LS/SWA/PVC (N2XRGbY) 4 x 2.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-20353-01
Cu/XLPE/LS/SWA/PVC (N2XRY) 2 x 10 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-21480-01
Cu/XLPE/LS/SWA/PVC (N2XRY) 3 x 4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-20076-03
Cu/XLPE/LS/SWA/PVC (N2XRY) 3 x 6 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-21480-01
Cu/XLPE/SWA/PVC (N2XRGbY) 3 x 6 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-20052-05
Cu/XLPE/SWA/PVC (N2XRGbY) 4 x 4 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-20072-09
Cu/XLPE/SWA/PVC (N2XRGbY) 4 x 6 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-20073-12
Cu/XLPE/SWA/PVC (N2XRGbY) 4 x 10 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-20046-13
Cu/XLPE/SWA/PVC (N2XRGbY) 4 x 1.5 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-20660-05
Cu/PVC/LS/SFA/PVC (NYKFGbY) 3 x 4 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-10638-01
Cu/PVC/LS/SFA/PVC (NYKFGbY) 4 x 4 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-10889-02
Cu/PVC/LS/SFA/PVC (NYKFGbY) 7 x 2.5 mm2 rm 0.6/1 (1.2)kV | Instrument & Control Cable | 21-10639-01
Cu/XLPE/PVC (N2XY) 1 x 1.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-21212-01
Cu/XLPE/PVC (N2XY) 1 x 10 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-20482-01
Cu/XLPE/PVC (N2XY) 1 x 4 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-21456-01
Cu/MT/XLPE/PVC (N2XY-FE) 1 x 10 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-20032-01
Cu/MT/XLPE/PVC (N2XY-FE) 4 x 10 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 91-20035-01
DC SOLAR CABLE (H1Z2Z2-K) 6 mm2 f 1500 V | Instrument & Control Cable | A3-20004-01
Cu/MT/XLPE/OS/LSZH 1 x 2 x 18 AWG rm 500 V | Instrument & Control Cable | 91-20409-01
Cu/PVC/OS/PVC 3 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 51-10337-01
Cu/PVC/OS/SWA/LSZH 3 x 2.5 mm2 | Instrument & Control Cable | 51-10336-01
Cu/PVC/IS/OS/SWA/PVC 20 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-10331-02
Cu/PVC/OS/SWA/PVC 1 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-10009-08
Cu/XLPE/LSZH (N2XH) 1 x 2.5 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20959-02
Cu/XLPE/LSZH (N2XH) 1 x 4 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20368-01
Cu/XLPE/LSZH (N2XH) 2 x 2.5 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20633-01
Cu/XLPE/LSZH (N2XH) 2 x 4 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20149-01
Cu/XLPE/LSZH (N2XH) 2 x 6 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-21369-01
Cu/XLPE/LSZH (N2XH) 3 x 2.5 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20114-01
Cu/XLPE/LSZH (N2XH) 3 x 2.5 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20114-05
Cu/XLPE/LSZH (N2XH) 3 x 4 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20310-01
Cu/XLPE/LSZH (N2XH) 3 x 6 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20957-01
Cu/XLPE/LSZH (N2XH) 4 x 2.5 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-20554-03
Cu/XLPE/LSZH (N2XH) 5 x 2.5 mm2 rm 0.6/1(1.2)kV | Instrument & Control Cable | 21-21100-01
Cu/MT/XLPE/LSZH (N2XH-FE) 2 x 1.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 91-20062-02
Cu/MT/XLPE/LSZH (N2XH-FE) 3 x 2.5 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 91-20061-02
Cu/MT/XLPE/LSZH (N2XH-FE) 4 x 4 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 91-20235-02
Cu/MT/XLPE/LSZH (N2XH-FE) 4 x 10 mm2 rm 0.6/1 (1.2) kV | Instrument & Control Cable | 91-20029-01
Cu/MT/XLPE/IS/OS/LSZH/SWA/LSZH 10 x 2 x 1.5 mm2 rm 600 V | Instrument & Control Cable | 91-20466-01
Cu/MT/XLPE/IS/OS/LSZH/SWA/LSZH 20 x 3 x 1.5 mm2 rm 600 V | Instrument & Control Cable | 91-20444-01
Cu/MT/XLPE/OS/LSZH/SWA/LSZH 1 x 2 x 1.5 mm2 rm 600 V | Instrument & Control Cable | 91-20020-03
Cu/MT/XLPE/OS/LSZH/SWA/LSZH 1 x 2 x 2.5 mm2 rm 600 V | Instrument & Control Cable | 91-20021-02
Cu/MT/XLPE/OS/LSZH/SWA/LSZH 1 x 3 x 1.5 mm2 rm 600 V | Instrument & Control Cable | 91-20040-02
Cu/MT/XLPE/OS/LSZH/SWA/LSZH 10 x 2 x 2.5 mm2 rm 600 V | Instrument & Control Cable | 91-20442-01
Cu/MT/XLPE/OS/LSZH/SWA/LSZH 2 x 2 x 2.5 mm2 rm 600 V | Instrument & Control Cable | 91-20076-02
Cu/MT/XLPE/OS/LSZH/SWA/LSZH 20 x 2 x 2.5 mm2 rm 600 V | Instrument & Control Cable | 91-20443-01
Cu/XLPE/IS/OS/SWA/PVC 2 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20023-05
Cu/XLPE/IS/OS/SWA/PVC 2 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20023-03
Cu/XLPE/OS/SWA/PVC 1 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20022-02
Cu/XLPE/OS/SWA/PVC 16 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20028-01
Cu/XLPE/OS/PVC 2 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20189-03
Cu/XLPE/OS/PVC 2 x 2 x 2.5 mm2 rm 500 V | Instrument & Control Cable | 51-20115-03
Cu/XLPE/OS/PVC 20 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20032-01
Cu/XLPE/OS/PVC 24 x 2 x 1.5 mm2 rm 500 V | Instrument & Control Cable | 51-20030-01
CU/XLPE/SWA/LSZH 7 x 1.5 mm2 rm 0.6/1(1.2) kV | Instrument & Control Cable | 21-21519-01
Cu/XLPE/CTS/PVC (N2XSY) 1 x 35 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20035-02
Cu/XLPE/CTS/PVC (N2XSY) 1 x 50 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20042-01
Cu/XLPE/CTS/PVC (N2XSY) 1 x 70 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20043-03
Cu/XLPE/CTS/PVC (N2XSY) 1 x 95 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20036-02
Cu/XLPE/CTS/PVC (N2XSY) 1 x 120 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20112-01
Cu/XLPE/CTS/PVC (N2XSY) 1 x 120 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20037-02
Cu/XLPE/CTS/PVC (N2XSY) 1 x 150 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20044-01
Cu/XLPE/CTS/PVC (N2XSY) 1 x 185 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20004-01
Cu/XLPE/CTS/PVC (N2XSY) 1 x 240 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20172-01
Cu/XLPE/CTS/PVC (N2XSY) 1 x 240 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20028-03
Cu/XLPE/CTS/PVC (N2XSY) 1 x 300 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20005-01
NA2XSY 1 x 630 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20121-01
Al/XLPE/CTS/PVC (NA2XSY) 1 x 300 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20001-01
Cu/XLPE/CTS/DSTA/PVC (N2XSEBY) 1 x 35 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20058-01
N2XSEBY 3 x 35 mm2 cm 12/20 kV 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20047-02
N2XSEBY 3 x 50 mm2 cm 12/20 kV 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20058-01
N2XSEBY 3 x 70 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20046-01
N2XSEBY 3 x 95 mm2 cm 12/20 kV 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20010-01
N2XSEBY 3 x 120 mm2 cm 12/20 kV 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20038-01
N2XSEBY 3 x 150 mm2 cm 12/20 kV 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20056-02
N2XSEBY 3 x 185 mm2 cm 12/20 kV 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20057-02
N2XSEBY 3 x 300 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20024-01
Cu/XLPE/CTS/DSTA/PVC (N2XSEBY) 3 x 240 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20048-02
Cu/XLPE/CTS/DSTA/PVC (N2XSEBY) 3 x 240 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20048-03
N2XSEBH 3 x 240 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20476-01
N2XSEFGBY 3 x 35 mm2 cm 6/10 (12) kV | Medium Voltage Single & Multi Core | 31-20133-01
N2XSEFGBY 3 x 95 mm2 cm 8.7/15 (17.5) kV | Medium Voltage Single & Multi Core | 31-20105-01
N2XSEFGBY 3 x 120 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20014-03
N2XSEFGBY 3 x 120 mm2 cm 6/10 (12) kV | Medium Voltage Single & Multi Core | 31-20135-01
N2XSERGBY 3 x 150 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20154-02
Cu/XLPE/CTS/SFA/PVC (N2XSEFGBY 3 x 95 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20053-02
N2XSH 1 x 240 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 31-20381-02
Cu/XLPE/CTS/SFA/PVC (N2XSEFGbY) 3 x 25 mm2 cm 6/10 (12) kV | Medium Voltage Single & Multi Core | 31-20134-01
Cu/XLPE/CTS/SFA/PVC (N2XSEFGbY) 3 x 35 mm2 cm 6/10 (12) kV | Medium Voltage Single & Multi Core | 31-20133-01
Cu/XLPE/CTS/SFA/PVC (N2XSEFGbY) 3 x 120 mm2 cm 6/10 (12) kV | Medium Voltage Single & Multi Core | 31-20135-01
Cu/XLPE/CTS/SFA/PVC (N2XSEFGbY) 3 x 240 mm2 cm 8.7/15 (17.5) kV | Medium Voltage Single & Multi Core | 31-20277-01
N2XSEFGbY 3 x 240 mm2 cm 12/20 (24)kV | Medium Voltage Single & Multi Core | 31-20043-03
Al/XLPE/CTS/PVC (NA2XSY) 1 x 95 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20035-01
NA2XSEBY 12/20 kV 3 x 300 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20055-02
NA2XSEFGbY 3 x 70 mm2 cm 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20014-01
NA2XSEFGbY 3 x 120 12/20 kV | Medium Voltage Single & Multi Core | 32-20014-02
NA2XSEYBY 12/20 kV 3 x 95 mm2 cm/25 12/20 kV | Medium Voltage Single & Multi Core | 32-20167-01
NA2XSEYBY 12/20 kV 3 x 240 mm2 cm/25 12/20 kV | Medium Voltage Single & Multi Core | 32-20005-03
NA2XSEYBY 12/20 kV 3 x 240 mm2 cm/25 12/20 kV | Medium Voltage Single & Multi Core | 32-20005-01
NA2XSEYBY 3 x 300 mm2 cm/25 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20006-01
NA2XSEYBY 3 x 300 mm2 cm/25 12/20 (24) kV | Medium Voltage Single & Multi Core | 32-20006-06
NFA2X 2 x 10 mm2 rm 0.6/1 (1.2)kV | Twisted Cable | 72-20001-01
NFA2X 2 x 16 mm2 rm 0.6/1 (1.2)kV | Twisted Cable | 72-20002-01
NFA2X 4 x 10 mm2 rm 0.6/1 (1.2)kV | Twisted Cable | 72-20003-01
NFA2X 4 x 25 mm2 rm 0.6/1 (1.2)kV | Twisted Cable | 72-20019-01
NFA2X 4 x 35 mm2 rm 0.6/1 (1.2)kV | Twisted Cable | 72-20012-01
NFA2X 4 x 16 mm2 rm 0.6/1 (1.2)kV | Twisted Cable | 72-20004-01
NFA2X-T 3 x 50 +35 | Twisted Cable | 72-20015-01
NFA2X-T 3 x 95 +95 | Twisted Cable | 72-20011-01
NFA2X-T 3 x 95 + 70 | Twisted Cable | 72-20017-01
AAAC 35 mm2 | AL/ACSR | 42-00045-01
AAAC 70 mm2 | AL/ACSR | 42-20008-01
AAAC 150 mm2 | AL/ACSR | 42-20009-01
AAAC-S 50 mm2 | AL/ACSR | 42-20008-01
AAAC-S 70 mm2 | AL/ACSR | 42-20002-01
AAAC-S 95 mm2 | AL/ACSR | 42-20013-01
AAAC-S 150 mm2 | AL/ACSR | 42-20001-01
AAAC-S 150 mm2 (19 wire) | AL/ACSR | 42-20018-01
AAAC-S 240 mm2 | AL/ACSR | 42-20003-01
THAL 980 | AL/ACSR | 42-00019-00
ACCC/TW COPENHAGEN 220 mm2 tw | AL/ACSR | 42-00019-01
ACCC/TW LISBON 310 mm2 tw | AL/ACSR | 42-00001-02
ACCC/TW AMSTERDAM 360 mm2 tw | AL/ACSR | 42-00004-01
ACCC/TW BRUSSELS 420 mm2 tw | AL/ACSR | 42-00016-01
GSW 35 mm2 rm | AL/ACSR | 45-00005-01
AS Wire 70 mm2 rm | AL/ACSR | 45-00013-01
OPGW-24G652-2S-91 [53.6;77.1} | AL/ACSR | 45-00014-01
10/S1A-7 67.8 | AL/ACSR | 45-00014-02
BCC Soft 6 mm2 re | AL/ACSR | 41-00006-01
BCC HD 10 mm2 re | AL/ACSR | 41-00010-01
BCC HD 70 mm2 re | AL/ACSR | 41-00010-01
BCC HD 240 mm2 re | AL/ACSR | 41-00032-01
BCC HD 300 mm2 re | AL/ACSR | 41-00019-01
ACSR/AS (A1/SA 1A) 250 mm2 rm | AL/ACSR | 42-00002-01
ACSR/AS (A1/SA 1A) 450 mm2 rm | AL/ACSR | 42-00003-03
T-EJ(Pem) E 1q x 0.9 mm | Telephone Cable | 61-30002-01
T-EJ(Pem) E 2q x 0.9 mm | Telephone Cable | 61-30009-01
T-EJ(Pem) E 2 x 2 x 0.9 | Telephone Cable | 61-30001-01
T-EJ(Pem) E 2 x 2 x 0.9 | Telephone Cable | 61-30001-02
T-EJ(Pem) E 2 x 2 x 1.5 | Telephone Cable | 61-30007-01
T-EJ(Pem) E 10 x 2 x 0.9 | Telephone Cable | 61-30006-02
U-E(Pe)ES 60 x 2 x 0.6 | Telephone Cable | 61-30006-03
R-V(Pe)V 30 x 2 x 0.6 | Telephone Cable | 61-10005-01
R-V(Pe)V 50 x 2 x 0.6 | Telephone Cable | 61-10005-00
R-V(Pe)V 6 x 2 x 0.6 | Telephone Cable | 61-10005-01
R-VV 2 x 2 x 0.6 mm | Telephone Cable | 61-10001-01
R-VV 6 x 2 x 0.6 mm | Telephone Cable | 61-10003-01
CU/PE/PVC/SWA/PVC-DATA TWIST ARMOUR AWG | Telephone Cable | 61-10003-02
FIBER OPTIC AERIAL SM DA-WG | Telephone Cable | 61-10003-03
FIBER OPTIC AERIAL SM DA-WG | Telephone Cable | 61-10003-04
FIBER OPTIC AERIAL SM DA-WG | Telephone Cable | 61-10003-05